1

4

2

3

5

6

7

12

13

14

S

N

Biogas

45o

8

9

10

11

14

N

S

Biogas

6

(a)						(b)

Figure 1: The biogas digester with built-in solar reverse absorber heater: cylindrical plastic methane tank (1), a reverse absorber heater (2), a pyramidal support (3). Thermo insulating material (4), aluminum foil (5), the metallic absorber (6), slurry (7), inlet (8), the outlet (9), tap (10), the partition (11), the horizontal axes, cylindrical reflecting mirror (12), and horizontal glass cover (13), the inclined glass cover (14).

1

2

3

4

5

6

Figure 2:  The cylindrical reflecting mirror of solar reverse absorber heater: the plane mirror strips (1), the plastic sheet (2), the cylindrical metallic ground (3), the plane mirror (4), plastic sheet (5) and plane metallic sheet (6).

Figure 3: Fabricated solar biogas digester with flexible gas-holder.

- (b)

Figure 4: Solar irradiance-(1, in mW/cm2), ambient temperature (2 in oC) – and slurry’s temperature (3 in oC)-time relationships obtained for the one day in October, 2009 (Fig.4-a) and March, 2010 (Fig.4-b).

Solar Biogas    Digester

Compressor

10 bar

Gas engine with generator

Compressor

Gas Cylinder

Absorption tower

Water

Compressors

Loads

Upgraded biogas

~90% CH4

10x103 kPa pressure

Biogas

Electric power

Water

Absorptiondryer

Figure 5: Removal of carbon dioxide, hydrogen sulphide and water from biogas and conversion of its energy into electric power and compression.

2

1

Water Inlet

Biogas Inlet

4

6

Water Outlet

Upgraded Biogas

8

3

5

7

Figure 6: Schematic diagram of the absorption tower: 1. Tower, 2. Shower for water spray, 3. Metallic plate with pores to hold packing, 4. Pressure Safety Valve, 5. Flanges, 6. Valve, 7. Ceramic Packing Material (Diameter = 25mm), 8.Stand.

Outlet

Inlet

Dry Biogas

Wet Biogas

Silica

Grid

Lid

Column

Support

Figure 7: Schematic diagram of the absorption water dryer.

Table 1. Requirements to remove gaseous components depending on the biogas utilization.

| Application | H2S | CO2 | H2O |
| --- | --- | --- | --- |
| Gas heater (boiler) | < 1 ppm | No | No |
| Kitchen stove | Yes | No | No |
| Stationary engine (Combined heat and power engine) | < 1 ppm | No | No Consideration |
| Vehicle fuel | Yes | Recommended | Yes |
| Natural gas grid | Yes | Yes | Yes |

Table 2. Biogas upgrading and utilization in Europe and USA.

| Country | Biogas Utilization | Biogas production | CH4 Reqd (%) | CO2 Removal technique | H2S Removal technique | In Operation since |
| --- | --- | --- | --- | --- | --- | --- |
| Czech.Rep. | Vehicle fuel | Sewage sludge | 95 | Water scrubbing | Water scrubbing | 1985 |
| France | Vehicle fuel | Sewage sludge | 96.7 | Water scrubbing | Water scrubbing | 1994 |
| Netherlands | Natural gas | Landfill green waste | 88 | Membranes carbon molecular sieves | Activated Carbon | 1991 |
| Sweden | Vehicle fuel | Sewage sludge vegetable waste | 97 | Water scrubbing carbon molecular sieves | Water scrubbing Activated Carbon | 1992 |
| Switzerland | Vehicle fuel, natural gas | Bio waste | 96 | Selexol scrubbing Membranes water scrubbing | Selexol scrubbing Activated Carbon | 1981 |
| USA | Vehicle fuel, natural gas | Landfill Sewage sludge | 98 | Selexol scrubbing Membranes water scrubbing | Selexol scrubbing Activated Carbon | 1981 |